## DE
Item No. | Description | Total Qty. | Rate | Unit | Total Amount | Type
1 | Earthwork excavation by mechanical means (Hydraulic excavator) or manual means for foundation, substructures, plinth beam, cess pits & trenches, all kinds of foundation etc., in all types of soil like hard gravelly soil, sandy soil for the following depth from average ground level upto the required founding level, line and grades in both dry and wet conditions including dewatering, shoring, strutting, bailing out of water if necessary, levelling and ramming the bottom of trenches, dressing of sides, stacking the excavated materials away from the edge of trenches, refilling the sides of foundation as required with selected excavated earth and depositing / disposing the surplus excavated earth (Disposed soil to be leveled by breaking clods, if any and neatly dressed and leveled) within the lead specified below all complete as per specifications and as directed by the Engineer-in-charge.
1/a] | All kinds of soil with depth upto 1.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 560 | 300 | cum | 168000
1/b] | All kinds of soil with depth exceeding 1.5m but not exceeding 3m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 325 | 320 | cum | 104000
1/c] | All kinds of soil with depth exceeding 3m but not exceeding 4.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 100 | 350 | cum | 35000
2 | Supplying and filling the selected earth from outside of DAE installation (with a lead of 28 kilometres), including excavation from borrow pits if any required, filling in layer of not more than 150mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. Note: Proper Trip sheet records shall be maintained for bringing the earth through DAE main gate with security stamp duly signed by Departmental Engineer. | 500 | 700 | cum | 350000
3 | Supplying and filling in basement with Quarry dust, filling in layers of not more than 150mm thick, each layer well rammed and consolidated by hand/mechanical roller including watering, levelling, dressing the top surface to the required level complete all as per specification and as directed by the Engineer-in-Charge. | 1 | 700 | cum | 700
4 | Construction of granular sub-base by providing close graded Material, mixing in a mechanical mix plant at OMC, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401 of MoRT&H specifications for road and bridge works (4th Revision) and as directed by the Engineer-in-Charge.
4/a] | for Grading-II material | 5 | 1500 | cum | 7500
5 | Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/downward variation required to obtain the specified strength will be paid for or deducted at the rate of cement specified in Schedule F. M15 grade with 260 kg. of cement per cu.m. of concrete upto plinth level | 20 | 5800 | cum | 116000
6 | Providing and laying cast insitu controlled reinforced cement concrete of M 30 grade with total minimum cementitious content (cement + fly ash) 380 kg/cu.m, using OPC 43 grade conforming to IS 8112 and with required fly ash conforming to IS 3812 Part -II / ASTM C-618 Class F. Fly ash should be blended at site such that fly ash content should not exceed 20 % by weight of total cementitious content. Coarse aggregate used should be hard granite machine crushed (VSI technology) graded stone aggregates with maximum size of aggregate not exceeding 20 mm and fine aggregate used should be either natural river sand or crushed stone sand conforming to IS 383 – 2016.
6/a] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for upto plinth level | 200 | 7500 | cum | 1500000
6/b] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above plinth level up to +18.60m level. | 85 | 8700 | cum | 739500
6/c] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above +18.60m level to up to +30m level. | 175 | 9500 | cum | 1662500
7 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering for curved surface to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof. The cost inclusive of providing & fixing tie bolt, spring coil and plastic cone in wall shuttering along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. The measurement for the formwork will be the actual area of forms in contact with concrete surfaces. Shuttering with plywood panels alone will be permitted.
7/a] | Up to Plinth Level | 220 | 500 | sqm | 110000
7/b] | Above Plinth Level to up to +18.60m Level | 420 | 770 | sqm | 323400
7/c] | Above +18.60m to up to +30.00m Level | 600 | 900 | sqm | 540000
8 | Providing and fixing double Tubular scaffolding system using H-Frames / APS system or (cup lock type) on the exterior side upto 30metre height made with 40mm dia M.S. tube 1.5m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in-charge. The elevation area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding . | 2350 | 190 | sqm | 446500
9 | Providing and fixing approved design of Doka Staircase Tower system up to 30M height using with 1.20m height load bearing tower frame, preassembled stairway elements, intermediate exits permit safe access to all work - deck levels. The stair tower is anchored to the structure as required by the usage situation and complies with the relevant safety rules (Class B to EN 12811-1). The system consists screw jack foots, basic frames, inner, outer, access, landing, railing systems, staircase systems, access supports, scaffolding tubes, scaffolding planks, hand rail posts, scaffolding tube holders, couplers of different types etc. made with M.S. Tubes and M.S. Plates and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. | 500 | 400 | sqm | 200000
10 | Providing and Placing in position Serrated with central bulb 225mm wide PVC water stops conforming to IS:12200 of Deep-Jyoti or equivalent for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete | 200 | 430 | metre | 86000
11 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 'SAIL or VIZAG or approved equivalent make' and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts. Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. For further details please see Clause II of Section VIII, General Information for Guidance of Tenderers.
11/a] | Up to Plinth Level | 50 | 81000 | mt | 4050000 | s
11/b] | Plinth Level to (+)18.60M Level | 17 | 82000 | mt | 1394000 | s
11/c] | (+)18.60M Level to (+) 30M Level | 33 | 86000 | mt | 2838000 | s
12 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like trusses, purlins etc. with curved profile of members using MS hollow / circular / square / rectangular tubular sections including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required shall also be arranged by the contractor at his own cost. | 0.5 | 1,30,000.00 | mt | 65000 | st
13 | Providing, fabricating and fixing hand rail , Ladder , working platform using 304 grade Stainless Steel pipes, Square sections etc. of approved size and make and quality by cutting to required size, welding, mirror / matt polishing , fixing at site etc. for balcony railing & staircases railing including special sections as per drawings, specifications complete . A sample to be fabricated and to be got approved by the Engineer-in-Charge before starting of work at site . This work to be executed through approved specialized agency. | 1100 | 750 | kg | 825000
14 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:6 including scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors.
14/a] | for Basement and Ground Floor | 20 | 6800 | cum | 136000
15 | Providing and constructing Random Rubble masonry in cement mortar 1:6 using hard granite stones obtained from approved quarry with bond stones at 2.00 metres apart for foundation, basement and in superstructure, compound/boundary walls, including sizing of stones if required, raking out joints, scaffolding, curing etc., complete all as per drawing, specifications and as directed by Engineer-in-charge at all lifts. | 5 | 6000 | cum | 30000
16 | Providing Flush pointing over the random rubble masonry wall with cement mortar 1:3 at all levels including scaffolding, curing, forming grooves wherever necessary all as per specifications, drawings and as directed by Engineer-in-Charge. | 15 | 230 | sqm | 3450
17 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick finished with a floating coat of neat cement including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications and as directed by the Engineer-in-Charge. | 85 | 350 | sqm | 29750
18 | Providing F3 finish over concrete surfaces in cement mortar 1:1.5 (1 part cement : 1.5 part fine sand) including wetting the surface, labours, curing, all materials, scaffolding, at all elevations complete all as per specification and as directed by the Engineer-in-Charge. | 500 | 120 | sqm | 60000
19 | Providing waterproofing in three parts system as per the specifications listed below. Note: Suitable guarantee for 10 years is to be provided for this work. This work has to be executed as per the specification and direction of the Engineer-in-charge.
19/a] | Providing and Applying TWO COMPONENT Heavy duty ACRYLIC MODIFIED / POLYMER MODIFIED CEMENTITIOUS flexible waterproof coating like Dr.Fixit Fastflex of M/s. Pidilite Industries Ltd (or) equivalent which should have 120% elongation as per ASTM D 412,Crack Bridging upto 2 mm as per ASTM C 836,Water penetration(5 bar pressure) 1% as per BS EN 12390,Tensile strength of 1 N as per ASTM D 412,Reduction of Rapid Chloride Permeability 92% as per ASTM C1202-97 in two coats at 1:1.4(Liquid: Powder) mix ratio and at specific intervals once after base preparation of cleaning, brushing and removal of flacky materials, grouting the porous area with cementitious grout, bore packing, proper coving between slab and wall junctions,extending up to top of the wall ,etc., complete as per Manufacturer's methodology and specification which is approved by Engineer-in-charge. | 375 | 125 | sqm | 46875
19/b] | Providing and laying 12 mm thick plaster over the coating admixed with water proof admixture like Dr.Fixit Pidiproof LW+ of M/s Pidilite Industries Ltd (or) equivalent conforming to IS 2645:2003 standard at 200ml per bag of cement, etc., complete as per Manufacturer's specification which is approved by Engineer-in-charge. | 375 | 400 | sqm | 150000
19/c] | Supplying and applying of two coats of Food Grade Epoxy like Dr.Fixit Dampguard @ 500/Gms/Sqm (or) equivalent etc., complete and approved by the Engineer-in-Charge. | 375 | 550 | sqm | 206250
20 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 300 | 190 | sqm | 57000
21 | Providing and applying on external surfaces Acrylic based textured paint (Renova or other approved equivalent brand and manufacturer) of approved colour, textured pattern, horizontal and vertical groove if required on plastered surfaces with two coats of external emulsion paint over under coat textured paint including preparation of the surfaces, scaffolding, cleaning the surfaces complete at all level and as directed by the Engineer-in-Charge. Note: The work should be executed by an approved agency. The rate shall be included of textured paint one coat and emulsion paint two coats. | 700 | 530 | sqm | 371000
22 | Providing and laying 40mm thick Indian patent stone flooring and skirting with cement concrete 1:2:4, using 10mm and below size hard broken granite stone jelly including dividing strips, laying in panels, consolidating, curing, rubbing the surface smooth, cleaning the surface neatly at the time of handing over the area complete all as per specifications and as directed by the Engineer-in-Charge. | 35 | 420 | sqm | 14700
23 | Providing cement plaster skirting in cement mortar 1:3, 18mm thick finished with a floating coat of neat cement including curing, making uniform height, cleaning the surface neatly at the time of handing over the area all as per specifications and as directed by the Engineer-in-Charge. | 5 | 250 | sqm | 1250
24 | Providing and fixing anodized aluminium (Anodised transparent or dyed to required shade according to IS:1868 Minimum Anodic coating of grade AC 15) work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z Sections and other sections of approved make conforming to IS:733 and IS:1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per architectural drawings and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required. (fittings, Glazing and panelling shall be paid for separately) | 65 | 550 | kg | 35750
25 | Providing and fixing IS: 3564 marked Al die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts "Everite/ Hardwyn" or approved equivalent make complete as per specifications and as directed by the Engineer-in-Charge. | 1 | 1400 | each | 1400
26 | Providing and fixing 4 Lever Dead/Mortice Lock ‘Godrej/Everite’ or other approved equivalent make suitable for aluminium door with a pair of keys complete all as per specification, drawings and as directed by the Engineer-in-Charge. | 1 | 650 | each | 650
27 | Supplying and fixing in position of heavy quality Cast Iron manhole frame and cover, steps etc of specified weight for the inspection chamber, valve chamber etc. all as per specifications and as directed by the Engineer-in-Charge. | 300 | 105 | kg | 31500
28 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.)
28/a] | 300mm dia - 5.40 m long | 4 | 38000 | each | 152000
28/b] | 300mm dia - 3.0 m long | 2 | 30500 | each | 61000
28/c] | 300mm dia - 1.0 m long | 3 | 15500 | each | 46500
29 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.)
29/a] | 150mm dia - 5.40 m long | 15 | 16750 | each | 251250
29/b] | 150mm dia - 3.0 m long | 4 | 14750 | each | 59000
29/c] | 150mm dia - 1.50 m long | 1 | 8700 | each | 8700
29/d] | 150mm dia - 1.0 m long | 7 | 7500 | each | 52500
29/e] | 150mm dia - 0.50 m long | 1 | 5500 | each | 5500
30 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.)
30/a] | 100mm dia - 5.40 m long | 4 | 11500 | each | 46000
30/b] | 100mm dia - 3.0 m long | 1 | 9750 | each | 9750
30/c] | 100mm dia - 2.0 m long | 1 | 6900 | each | 6900
30/d] | 100mm dia - 1.5 m long | 1 | 6200 | each | 6200
30/e] | 100mm dia - 1.0 m long | 3 | 5100 | each | 15300
31 | Supplying and fixing, tested heavy quality DI specials / fittings K12 class socket, spigot and flanged specials such as bends, collars, tapers, tees, duckfoot bend, flanged socket and flanged spigot tail pieces, blank flanges etc and conforming to IS:9523 and IS:8329. Drilling holes to the flanged fittings shall be PN 25 Classification and socket specials / fittings shall be suitable for rubber gasket (SPR) pushon joints etc complete. (Joints will be paid for separately under relevant items) - for 80mm to 300mm dia. | 550 | 260 | kg | 143000
32 | Providing and fixing in position the following sizes of cast iron sluice valves ‘Kirloskar’make conforming to IS:14846:2000, Having PN 1.6 Designation, non raising spindle ends flanged and drilled to IS:8329/2000 and IS:9523/2000 to PN-25 classification etc. complete all as per specification and as directed by the Engineer-in-Charge. (Making flanged joints will be paid for separately under relevant items)
32/a] | 300mm diameter | 1 | 1,10,000.00 | each | 110000
32/b] | 150mm diameter | 1 | 34500 | each | 34500
32/c] | 100mm diameter | 1 | 28500 | each | 28500
33 | Making flanged joints of the following DI pipes, specials and valves, providing and fixing standard size and numbers of MS bolts, nuts and washers, 3mm thick ply rubber insertion and testing the joints to hydrostatic pressure specified in relevent IS standard and making good all the defects and leakages inclusive of cost of all jointing materials, bolts and nuts and labour etc all as per standard specification and IS:8329 and IS:9523 and as directed by the Engineer-in-Charge.
33/a] | 300mm diameter | 15 | 1000 | each | 15000
33/b] | 150mm diameter | 40 | 500 | each | 20000
33/c] | 100mm diameter | 15 | 200 | each | 3000
34 | Providing and laying non pressure NP2 class RCC Hume pipes conforming to IS:458, with collars jointed with stiff mixture of cement mortar in the proportion of 1:2, laying to the levels, slopes including testing of joints etc. complete all as per the drawings and specifications and as directed by the Engineer-in-charge.
34/a] | 150mm dia NP2 class RCC Hume pipe | 20 | 400 | metre | 8000
17819275

## A
Item No. | Description | Total Qty. | Rate | Unit | Total Amount | Type
1 | Earthwork excavation by mechanical means (Hydraulic excavator) or manual means for foundation, substructures, plinth beam, cess pits & trenches, all kinds of foundation etc., in all types of soil like hard gravelly soil, sandy soil for the following depth from average ground level upto the required founding level, line and grades in both dry and wet conditions including dewatering, shoring, strutting, bailing out of water if necessary, levelling and ramming the bottom of trenches, dressing of sides, stacking the excavated materials away from the edge of trenches, refilling the sides of foundation as required with selected excavated earth and depositing / disposing the surplus excavated earth (Disposed soil to be leveled by breaking clods, if any and neatly dressed and leveled) within the lead specified below all complete as per specifications and as directed by the Engineer-in-charge.
1/a] | All kinds of soil with depth upto 1.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 560 | 300 | cum | 168000
1/b] | All kinds of soil with depth exceeding 1.5m but not exceeding 3m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 325 | 320 | cum | 104000
1/c] | All kinds of soil with depth exceeding 3m but not exceeding 4.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 100 | 350 | cum | 35000
2 | Supplying and filling the selected earth from outside of DAE installation (with a lead of 28 kilometres), including excavation from borrow pits if any required, filling in layer of not more than 150mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. Note: Proper Trip sheet records shall be maintained for bringing the earth through DAE main gate with security stamp duly signed by Departmental Engineer. | 500 | 700 | cum | 350000
3 | Supplying and filling in basement with Quarry dust, filling in layers of not more than 150mm thick, each layer well rammed and consolidated by hand/mechanical roller including watering, levelling, dressing the top surface to the required level complete all as per specification and as directed by the Engineer-in-Charge. | 1 | 700 | cum | 700
4 | Construction of granular sub-base by providing close graded Material, mixing in a mechanical mix plant at OMC, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401 of MoRT&H specifications for road and bridge works (4th Revision) and as directed by the Engineer-in-Charge. |  |  |  | 0
4/a] | for Grading-II material | 5 | 1500 | cum | 7500
5 | Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/downward variation required to obtain the specified strength will be paid for or deducted at the rate of cement specified in Schedule F. M15 grade with 260 kg. of cement per cu.m. of concrete upto plinth level | 20 | 5800 | cum | 116000
6 | Providing and laying cast insitu controlled reinforced cement concrete of M 30 grade with total minimum cementitious content (cement + fly ash) 380 kg/cu.m, using OPC 43 grade conforming to IS 8112 and with required fly ash conforming to IS 3812 Part -II / ASTM C-618 Class F. Fly ash should be blended at site such that fly ash content should not exceed 20 % by weight of total cementitious content. Coarse aggregate used should be hard granite machine crushed (VSI technology) graded stone aggregates with maximum size of aggregate not exceeding 20 mm and fine aggregate used should be either natural river sand or crushed stone sand conforming to IS 383 – 2016. |  |  |  | 0
6/a] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for upto plinth level | 200 | 7500 | cum | 1500000
6/b] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above plinth level up to +18.60m level. | 85 | 8700 | cum | 739500
6/c] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above +18.60m level to up to +30m level. | 175 | 9500 | cum | 1662500
7 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering for curved surface to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof. The cost inclusive of providing & fixing tie bolt, spring coil and plastic cone in wall shuttering along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. The measurement for the formwork will be the actual area of forms in contact with concrete surfaces. Shuttering with plywood panels alone will be permitted. |  |  |  | 0
7/a] | Up to Plinth Level | 220 | 500 | sqm | 110000
7/b] | Above Plinth Level to up to +18.60m Level | 420 | 770 | sqm | 323400
7/c] | Above +18.60m to up to +30.00m Level | 600 | 900 | sqm | 540000
8 | Providing and fixing double Tubular scaffolding system using H-Frames / APS system or (cup lock type) on the exterior side upto 30metre height made with 40mm dia M.S. tube 1.5m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in-charge. The elevation area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding . | 2350 | 190 | sqm | 446500
9 | Providing and fixing approved design of Doka Staircase Tower system up to 30M height using with 1.20m height load bearing tower frame, preassembled stairway elements, intermediate exits permit safe access to all work - deck levels. The stair tower is anchored to the structure as required by the usage situation and complies with the relevant safety rules (Class B to EN 12811-1). The system consists screw jack foots, basic frames, inner, outer, access, landing, railing systems, staircase systems, access supports, scaffolding tubes, scaffolding planks, hand rail posts, scaffolding tube holders, couplers of different types etc. made with M.S. Tubes and M.S. Plates and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. | 500 | 400 | sqm | 200000
10 | Providing and Placing in position Serrated with central bulb 225mm wide PVC water stops conforming to IS:12200 of Deep-Jyoti or equivalent for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete | 200 | 430 | metre | 86000
11 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 'SAIL or VIZAG or approved equivalent make' and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts. Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. For further details please see Clause II of Section VIII, General Information for Guidance of Tenderers. |  |  |  | 0
11/a] | Up to Plinth Level | 50 | 81000 | mt | 4050000 | s
11/b] | Plinth Level to (+)18.60M Level | 17 | 82000 | mt | 1394000 | s
11/c] | (+)18.60M Level to (+) 30M Level | 33 | 86000 | mt | 2838000 | s
12 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like trusses, purlins etc. with curved profile of members using MS hollow / circular / square / rectangular tubular sections including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required shall also be arranged by the contractor at his own cost. | 0.5 | 135000 | mt | 67500 | st
13 | Providing, fabricating and fixing hand rail , Ladder , working platform using 304 grade Stainless Steel pipes, Square sections etc. of approved size and make and quality by cutting to required size, welding, mirror / matt polishing , fixing at site etc. for balcony railing & staircases railing including special sections as per drawings, specifications complete . A sample to be fabricated and to be got approved by the Engineer-in-Charge before starting of work at site . This work to be executed through approved specialized agency. | 1100 | 750 | kg | 825000
14 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:6 including scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors. |  |  |  | 0
14/a] | for Basement and Ground Floor | 20 | 6800 | cum | 136000
15 | Providing and constructing Random Rubble masonry in cement mortar 1:6 using hard granite stones obtained from approved quarry with bond stones at 2.00 metres apart for foundation, basement and in superstructure, compound/boundary walls, including sizing of stones if required, raking out joints, scaffolding, curing etc., complete all as per drawing, specifications and as directed by Engineer-in-charge at all lifts. | 5 | 6000 | cum | 30000
16 | Providing Flush pointing over the random rubble masonry wall with cement mortar 1:3 at all levels including scaffolding, curing, forming grooves wherever necessary all as per specifications, drawings and as directed by Engineer-in-Charge. | 15 | 230 | sqm | 3450
17 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick finished with a floating coat of neat cement including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications and as directed by the Engineer-in-Charge. | 85 | 350 | sqm | 29750
18 | Providing F3 finish over concrete surfaces in cement mortar 1:1.5 (1 part cement : 1.5 part fine sand) including wetting the surface, labours, curing, all materials, scaffolding, at all elevations complete all as per specification and as directed by the Engineer-in-Charge. | 500 | 120 | sqm | 60000
19 | Providing waterproofing in three parts system as per the specifications listed below. Note: Suitable guarantee for 10 years is to be provided for this work. This work has to be executed as per the specification and direction of the Engineer-in-charge. |  |  |  | 0
19/a] | Providing and Applying TWO COMPONENT Heavy duty ACRYLIC MODIFIED / POLYMER MODIFIED CEMENTITIOUS flexible waterproof coating like Dr.Fixit Fastflex of M/s. Pidilite Industries Ltd (or) equivalent which should have 120% elongation as per ASTM D 412,Crack Bridging upto 2 mm as per ASTM C 836,Water penetration(5 bar pressure) 1% as per BS EN 12390,Tensile strength of 1 N as per ASTM D 412,Reduction of Rapid Chloride Permeability 92% as per ASTM C1202-97 in two coats at 1:1.4(Liquid: Powder) mix ratio and at specific intervals once after base preparation of cleaning, brushing and removal of flacky materials, grouting the porous area with cementitious grout, bore packing, proper coving between slab and wall junctions,extending up to top of the wall ,etc., complete as per Manufacturer's methodology and specification which is approved by Engineer-in-charge. | 375 | 125 | sqm | 46875
19/b] | Providing and laying 12 mm thick plaster over the coating admixed with water proof admixture like Dr.Fixit Pidiproof LW+ of M/s Pidilite Industries Ltd (or) equivalent conforming to IS 2645:2003 standard at 200ml per bag of cement, etc., complete as per Manufacturer's specification which is approved by Engineer-in-charge. | 375 | 400 | sqm | 150000
19/c] | Supplying and applying of two coats of Food Grade Epoxy like Dr.Fixit Dampguard @ 500/Gms/Sqm (or) equivalent etc., complete and approved by the Engineer-in-Charge. | 375 | 550 | sqm | 206250
20 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 300 | 190 | sqm | 57000
21 | Providing and applying on external surfaces Acrylic based textured paint (Renova or other approved equivalent brand and manufacturer) of approved colour, textured pattern, horizontal and vertical groove if required on plastered surfaces with two coats of external emulsion paint over under coat textured paint including preparation of the surfaces, scaffolding, cleaning the surfaces complete at all level and as directed by the Engineer-in-Charge. Note: The work should be executed by an approved agency. The rate shall be included of textured paint one coat and emulsion paint two coats. | 700 | 530 | sqm | 371000
22 | Providing and laying 40mm thick Indian patent stone flooring and skirting with cement concrete 1:2:4, using 10mm and below size hard broken granite stone jelly including dividing strips, laying in panels, consolidating, curing, rubbing the surface smooth, cleaning the surface neatly at the time of handing over the area complete all as per specifications and as directed by the Engineer-in-Charge. | 35 | 420 | sqm | 14700
23 | Providing cement plaster skirting in cement mortar 1:3, 18mm thick finished with a floating coat of neat cement including curing, making uniform height, cleaning the surface neatly at the time of handing over the area all as per specifications and as directed by the Engineer-in-Charge. | 5 | 250 | sqm | 1250
24 | Providing and fixing anodized aluminium (Anodised transparent or dyed to required shade according to IS:1868 Minimum Anodic coating of grade AC 15) work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z Sections and other sections of approved make conforming to IS:733 and IS:1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per architectural drawings and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required. (fittings, Glazing and panelling shall be paid for separately) | 65 | 550 | kg | 35750
25 | Providing and fixing IS: 3564 marked Al die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts "Everite/ Hardwyn" or approved equivalent make complete as per specifications and as directed by the Engineer-in-Charge. | 1 | 1800 | each | 1800
26 | Providing and fixing 4 Lever Dead/Mortice Lock ‘Godrej/Everite’ or other approved equivalent make suitable for aluminium door with a pair of keys complete all as per specification, drawings and as directed by the Engineer-in-Charge. | 1 | 650 | each | 650
27 | Supplying and fixing in position of heavy quality Cast Iron manhole frame and cover, steps etc of specified weight for the inspection chamber, valve chamber etc. all as per specifications and as directed by the Engineer-in-Charge. | 300 | 105 | kg | 31500
28 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
28/a] | 300mm dia - 5.40 m long | 4 | 38000 | each | 152000
28/b] | 300mm dia - 3.0 m long | 2 | 30500 | each | 61000
28/c] | 300mm dia - 1.0 m long | 3 | 15500 | each | 46500
29 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
29/a] | 150mm dia - 5.40 m long | 15 | 16750 | each | 251250
29/b] | 150mm dia - 3.0 m long | 4 | 14750 | each | 59000
29/c] | 150mm dia - 1.50 m long | 1 | 8700 | each | 8700
29/d] | 150mm dia - 1.0 m long | 7 | 7500 | each | 52500
29/e] | 150mm dia - 0.50 m long | 1 | 5500 | each | 5500
30 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
30/a] | 100mm dia - 5.40 m long | 4 | 11500 | each | 46000
30/b] | 100mm dia - 3.0 m long | 1 | 9750 | each | 9750
30/c] | 100mm dia - 2.0 m long | 1 | 6900 | each | 6900
30/d] | 100mm dia - 1.5 m long | 1 | 6200 | each | 6200
30/e] | 100mm dia - 1.0 m long | 3 | 5100 | each | 15300
31 | Supplying and fixing, tested heavy quality DI specials / fittings K12 class socket, spigot and flanged specials such as bends, collars, tapers, tees, duckfoot bend, flanged socket and flanged spigot tail pieces, blank flanges etc and conforming to IS:9523 and IS:8329. Drilling holes to the flanged fittings shall be PN 25 Classification and socket specials / fittings shall be suitable for rubber gasket (SPR) pushon joints etc complete. (Joints will be paid for separately under relevant items) - for 80mm to 300mm dia. | 550 | 260 | kg | 143000
32 | Providing and fixing in position the following sizes of cast iron sluice valves ‘Kirloskar’make conforming to IS:14846:2000, Having PN 1.6 Designation, non raising spindle ends flanged and drilled to IS:8329/2000 and IS:9523/2000 to PN-25 classification etc. complete all as per specification and as directed by the Engineer-in-Charge. (Making flanged joints will be paid for separately under relevant items) |  |  |  | 0
32/a] | 300mm diameter | 1 | 100000 | each | 100000
32/b] | 150mm diameter | 1 | 34500 | each | 34500
32/c] | 100mm diameter | 1 | 28500 | each | 28500
33 | Making flanged joints of the following DI pipes, specials and valves, providing and fixing standard size and numbers of MS bolts, nuts and washers, 3mm thick ply rubber insertion and testing the joints to hydrostatic pressure specified in relevent IS standard and making good all the defects and leakages inclusive of cost of all jointing materials, bolts and nuts and labour etc all as per standard specification and IS:8329 and IS:9523 and as directed by the Engineer-in-Charge. |  |  |  | 0
33/a] | 300mm diameter | 15 | 1000 | each | 15000
33/b] | 150mm diameter | 40 | 500 | each | 20000
33/c] | 100mm diameter | 15 | 200 | each | 3000
34 | Providing and laying non pressure NP2 class RCC Hume pipes conforming to IS:458, with collars jointed with stiff mixture of cement mortar in the proportion of 1:2, laying to the levels, slopes including testing of joints etc. complete all as per the drawings and specifications and as directed by the Engineer-in-charge. |  |  |  | 0
34/a] | 150mm dia NP2 class RCC Hume pipe | 560 | 500 | cum | 280000
18084175

## B
Item No. | Description | Total Qty. | Rate | Unit | Total Amount | Type
1 | Earthwork excavation by mechanical means (Hydraulic excavator) or manual means for foundation, substructures, plinth beam, cess pits & trenches, all kinds of foundation etc., in all types of soil like hard gravelly soil, sandy soil for the following depth from average ground level upto the required founding level, line and grades in both dry and wet conditions including dewatering, shoring, strutting, bailing out of water if necessary, levelling and ramming the bottom of trenches, dressing of sides, stacking the excavated materials away from the edge of trenches, refilling the sides of foundation as required with selected excavated earth and depositing / disposing the surplus excavated earth (Disposed soil to be leveled by breaking clods, if any and neatly dressed and leveled) within the lead specified below all complete as per specifications and as directed by the Engineer-in-charge.
1/a] | All kinds of soil with depth upto 1.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 560 | 300 | cum | 168000
1/b] | All kinds of soil with depth exceeding 1.5m but not exceeding 3m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 325 | 320 | cum | 104000
1/c] | All kinds of soil with depth exceeding 3m but not exceeding 4.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 100 | 350 | cum | 35000
2 | Supplying and filling the selected earth from outside of DAE installation (with a lead of 28 kilometres), including excavation from borrow pits if any required, filling in layer of not more than 150mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. Note: Proper Trip sheet records shall be maintained for bringing the earth through DAE main gate with security stamp duly signed by Departmental Engineer. | 500 | 700 | cum | 350000
3 | Supplying and filling in basement with Quarry dust, filling in layers of not more than 150mm thick, each layer well rammed and consolidated by hand/mechanical roller including watering, levelling, dressing the top surface to the required level complete all as per specification and as directed by the Engineer-in-Charge. | 1 | 700 | cum | 700
4 | Construction of granular sub-base by providing close graded Material, mixing in a mechanical mix plant at OMC, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401 of MoRT&H specifications for road and bridge works (4th Revision) and as directed by the Engineer-in-Charge. |  |  |  | 0
4/a] | for Grading-II material | 5 | 1500 | cum | 7500
5 | Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/downward variation required to obtain the specified strength will be paid for or deducted at the rate of cement specified in Schedule F. M15 grade with 260 kg. of cement per cu.m. of concrete upto plinth level | 20 | 5800 | cum | 116000
6 | Providing and laying cast insitu controlled reinforced cement concrete of M 30 grade with total minimum cementitious content (cement + fly ash) 380 kg/cu.m, using OPC 43 grade conforming to IS 8112 and with required fly ash conforming to IS 3812 Part -II / ASTM C-618 Class F. Fly ash should be blended at site such that fly ash content should not exceed 20 % by weight of total cementitious content. Coarse aggregate used should be hard granite machine crushed (VSI technology) graded stone aggregates with maximum size of aggregate not exceeding 20 mm and fine aggregate used should be either natural river sand or crushed stone sand conforming to IS 383 – 2016. |  |  |  | 0
6/a] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for upto plinth level | 200 | 7500 | cum | 1500000
6/b] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above plinth level up to +18.60m level. | 85 | 8700 | cum | 739500
6/c] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above +18.60m level to up to +30m level. | 175 | 9500 | cum | 1662500
7 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering for curved surface to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof. The cost inclusive of providing & fixing tie bolt, spring coil and plastic cone in wall shuttering along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. The measurement for the formwork will be the actual area of forms in contact with concrete surfaces. Shuttering with plywood panels alone will be permitted. |  |  |  | 0
7/a] | Up to Plinth Level | 220 | 500 | sqm | 110000
7/b] | Above Plinth Level to up to +18.60m Level | 420 | 770 | sqm | 323400
7/c] | Above +18.60m to up to +30.00m Level | 600 | 900 | sqm | 540000
8 | Providing and fixing double Tubular scaffolding system using H-Frames / APS system or (cup lock type) on the exterior side upto 30metre height made with 40mm dia M.S. tube 1.5m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in-charge. The elevation area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding . | 2350 | 190 | sqm | 446500
9 | Providing and fixing approved design of Doka Staircase Tower system up to 30M height using with 1.20m height load bearing tower frame, preassembled stairway elements, intermediate exits permit safe access to all work - deck levels. The stair tower is anchored to the structure as required by the usage situation and complies with the relevant safety rules (Class B to EN 12811-1). The system consists screw jack foots, basic frames, inner, outer, access, landing, railing systems, staircase systems, access supports, scaffolding tubes, scaffolding planks, hand rail posts, scaffolding tube holders, couplers of different types etc. made with M.S. Tubes and M.S. Plates and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. | 500 | 400 | sqm | 200000
10 | Providing and Placing in position Serrated with central bulb 225mm wide PVC water stops conforming to IS:12200 of Deep-Jyoti or equivalent for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete | 200 | 430 | metre | 86000
11 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 'SAIL or VIZAG or approved equivalent make' and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts. Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. For further details please see Clause II of Section VIII, General Information for Guidance of Tenderers. |  |  |  | 0
11/a] | Up to Plinth Level | 50 | 81000 | mt | 4050000 | s
11/b] | Plinth Level to (+)18.60M Level | 17 | 82000 | mt | 1394000 | s
11/c] | (+)18.60M Level to (+) 30M Level | 33 | 86000 | mt | 2838000 | s
12 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like trusses, purlins etc. with curved profile of members using MS hollow / circular / square / rectangular tubular sections including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required shall also be arranged by the contractor at his own cost. | 0.5 | 130000 | mt | 65000 | st
13 | Providing, fabricating and fixing hand rail , Ladder , working platform using 304 grade Stainless Steel pipes, Square sections etc. of approved size and make and quality by cutting to required size, welding, mirror / matt polishing , fixing at site etc. for balcony railing & staircases railing including special sections as per drawings, specifications complete . A sample to be fabricated and to be got approved by the Engineer-in-Charge before starting of work at site . This work to be executed through approved specialized agency. | 1100 | 750 | kg | 825000
14 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:6 including scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors. |  |  |  | 0
14/a] | for Basement and Ground Floor | 20 | 6800 | cum | 136000
15 | Providing and constructing Random Rubble masonry in cement mortar 1:6 using hard granite stones obtained from approved quarry with bond stones at 2.00 metres apart for foundation, basement and in superstructure, compound/boundary walls, including sizing of stones if required, raking out joints, scaffolding, curing etc., complete all as per drawing, specifications and as directed by Engineer-in-charge at all lifts. | 5 | 6000 | cum | 30000
16 | Providing Flush pointing over the random rubble masonry wall with cement mortar 1:3 at all levels including scaffolding, curing, forming grooves wherever necessary all as per specifications, drawings and as directed by Engineer-in-Charge. | 15 | 230 | sqm | 3450
17 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick finished with a floating coat of neat cement including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications and as directed by the Engineer-in-Charge. | 85 | 350 | sqm | 29750
18 | Providing F3 finish over concrete surfaces in cement mortar 1:1.5 (1 part cement : 1.5 part fine sand) including wetting the surface, labours, curing, all materials, scaffolding, at all elevations complete all as per specification and as directed by the Engineer-in-Charge. | 500 | 120 | sqm | 60000
19 | Providing waterproofing in three parts system as per the specifications listed below. Note: Suitable guarantee for 10 years is to be provided for this work. This work has to be executed as per the specification and direction of the Engineer-in-charge. |  |  |  | 0
19/a] | Providing and Applying TWO COMPONENT Heavy duty ACRYLIC MODIFIED / POLYMER MODIFIED CEMENTITIOUS flexible waterproof coating like Dr.Fixit Fastflex of M/s. Pidilite Industries Ltd (or) equivalent which should have 120% elongation as per ASTM D 412,Crack Bridging upto 2 mm as per ASTM C 836,Water penetration(5 bar pressure) 1% as per BS EN 12390,Tensile strength of 1 N as per ASTM D 412,Reduction of Rapid Chloride Permeability 92% as per ASTM C1202-97 in two coats at 1:1.4(Liquid: Powder) mix ratio and at specific intervals once after base preparation of cleaning, brushing and removal of flacky materials, grouting the porous area with cementitious grout, bore packing, proper coving between slab and wall junctions,extending up to top of the wall ,etc., complete as per Manufacturer's methodology and specification which is approved by Engineer-in-charge. | 375 | 125 | sqm | 46875
19/b] | Providing and laying 12 mm thick plaster over the coating admixed with water proof admixture like Dr.Fixit Pidiproof LW+ of M/s Pidilite Industries Ltd (or) equivalent conforming to IS 2645:2003 standard at 200ml per bag of cement, etc., complete as per Manufacturer's specification which is approved by Engineer-in-charge. | 375 | 400 | sqm | 150000
19/c] | Supplying and applying of two coats of Food Grade Epoxy like Dr.Fixit Dampguard @ 500/Gms/Sqm (or) equivalent etc., complete and approved by the Engineer-in-Charge. | 375 | 550 | sqm | 206250
20 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 300 | 190 | sqm | 57000
21 | Providing and applying on external surfaces Acrylic based textured paint (Renova or other approved equivalent brand and manufacturer) of approved colour, textured pattern, horizontal and vertical groove if required on plastered surfaces with two coats of external emulsion paint over under coat textured paint including preparation of the surfaces, scaffolding, cleaning the surfaces complete at all level and as directed by the Engineer-in-Charge. Note: The work should be executed by an approved agency. The rate shall be included of textured paint one coat and emulsion paint two coats. | 700 | 530 | sqm | 371000
22 | Providing and laying 40mm thick Indian patent stone flooring and skirting with cement concrete 1:2:4, using 10mm and below size hard broken granite stone jelly including dividing strips, laying in panels, consolidating, curing, rubbing the surface smooth, cleaning the surface neatly at the time of handing over the area complete all as per specifications and as directed by the Engineer-in-Charge. | 35 | 420 | sqm | 14700
23 | Providing cement plaster skirting in cement mortar 1:3, 18mm thick finished with a floating coat of neat cement including curing, making uniform height, cleaning the surface neatly at the time of handing over the area all as per specifications and as directed by the Engineer-in-Charge. | 5 | 250 | sqm | 1250
24 | Providing and fixing anodized aluminium (Anodised transparent or dyed to required shade according to IS:1868 Minimum Anodic coating of grade AC 15) work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z Sections and other sections of approved make conforming to IS:733 and IS:1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per architectural drawings and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required. (fittings, Glazing and panelling shall be paid for separately) | 65 | 550 | kg | 35750
25 | Providing and fixing IS: 3564 marked Al die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts "Everite/ Hardwyn" or approved equivalent make complete as per specifications and as directed by the Engineer-in-Charge. | 1 | 1400 | each | 1400
26 | Providing and fixing 4 Lever Dead/Mortice Lock ‘Godrej/Everite’ or other approved equivalent make suitable for aluminium door with a pair of keys complete all as per specification, drawings and as directed by the Engineer-in-Charge. | 1 | 650 | each | 650
27 | Supplying and fixing in position of heavy quality Cast Iron manhole frame and cover, steps etc of specified weight for the inspection chamber, valve chamber etc. all as per specifications and as directed by the Engineer-in-Charge. | 300 | 105 | kg | 31500
28 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
28/a] | 300mm dia - 5.40 m long | 4 | 38000 | each | 152000
28/b] | 300mm dia - 3.0 m long | 2 | 30500 | each | 61000
28/c] | 300mm dia - 1.0 m long | 3 | 15500 | each | 46500
29 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
29/a] | 150mm dia - 5.40 m long | 15 | 16750 | each | 251250
29/b] | 150mm dia - 3.0 m long | 4 | 14750 | each | 59000
29/c] | 150mm dia - 1.50 m long | 1 | 8700 | each | 8700
29/d] | 150mm dia - 1.0 m long | 7 | 7500 | each | 52500
29/e] | 150mm dia - 0.50 m long | 1 | 5500 | each | 5500
30 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
30/a] | 100mm dia - 5.40 m long | 4 | 11500 | each | 46000
30/b] | 100mm dia - 3.0 m long | 1 | 9750 | each | 9750
30/c] | 100mm dia - 2.0 m long | 1 | 6900 | each | 6900
30/d] | 100mm dia - 1.5 m long | 1 | 6200 | each | 6200
30/e] | 100mm dia - 1.0 m long | 3 | 5100 | each | 15300
31 | Supplying and fixing, tested heavy quality DI specials / fittings K12 class socket, spigot and flanged specials such as bends, collars, tapers, tees, duckfoot bend, flanged socket and flanged spigot tail pieces, blank flanges etc and conforming to IS:9523 and IS:8329. Drilling holes to the flanged fittings shall be PN 25 Classification and socket specials / fittings shall be suitable for rubber gasket (SPR) pushon joints etc complete. (Joints will be paid for separately under relevant items) - for 80mm to 300mm dia. | 550 | 265 | kg | 145750
32 | Providing and fixing in position the following sizes of cast iron sluice valves ‘Kirloskar’make conforming to IS:14846:2000, Having PN 1.6 Designation, non raising spindle ends flanged and drilled to IS:8329/2000 and IS:9523/2000 to PN-25 classification etc. complete all as per specification and as directed by the Engineer-in-Charge. (Making flanged joints will be paid for separately under relevant items) |  |  |  | 0
32/a] | 300mm diameter | 1 | 110000 | each | 110000
32/b] | 150mm diameter | 1 | 34500 | each | 34500
32/c] | 100mm diameter | 1 | 28500 | each | 28500
33 | Making flanged joints of the following DI pipes, specials and valves, providing and fixing standard size and numbers of MS bolts, nuts and washers, 3mm thick ply rubber insertion and testing the joints to hydrostatic pressure specified in relevent IS standard and making good all the defects and leakages inclusive of cost of all jointing materials, bolts and nuts and labour etc all as per standard specification and IS:8329 and IS:9523 and as directed by the Engineer-in-Charge. |  |  |  | 0
33/a] | 300mm diameter | 15 | 1000 | each | 15000
33/b] | 150mm diameter | 40 | 550 | each | 22000
33/c] | 100mm diameter | 15 | 100 | each | 1500
34 | Providing and laying non pressure NP2 class RCC Hume pipes conforming to IS:458, with collars jointed with stiff mixture of cement mortar in the proportion of 1:2, laying to the levels, slopes including testing of joints etc. complete all as per the drawings and specifications and as directed by the Engineer-in-charge. |  |  |  | 0
34/a] | 150mm dia NP2 class RCC Hume pipe | 20 | 450 | metre | 9000
17823525

## C
Item No. | Description | Total Qty. | Rate | Unit | Total Amount | Type
1 | Earthwork excavation by mechanical means (Hydraulic excavator) or manual means for foundation, substructures, plinth beam, cess pits & trenches, all kinds of foundation etc., in all types of soil like hard gravelly soil, sandy soil for the following depth from average ground level upto the required founding level, line and grades in both dry and wet conditions including dewatering, shoring, strutting, bailing out of water if necessary, levelling and ramming the bottom of trenches, dressing of sides, stacking the excavated materials away from the edge of trenches, refilling the sides of foundation as required with selected excavated earth and depositing / disposing the surplus excavated earth (Disposed soil to be leveled by breaking clods, if any and neatly dressed and leveled) within the lead specified below all complete as per specifications and as directed by the Engineer-in-charge.
1/a] | All kinds of soil with depth upto 1.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 560 | 300 | cum | 168000
1/b] | All kinds of soil with depth exceeding 1.5m but not exceeding 3m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 325 | 320 | cum | 104000
1/c] | All kinds of soil with depth exceeding 3m but not exceeding 4.5m below average Ground level and disposing surplus excavated earth upto a lead of 200 metres. | 100 | 350 | cum | 35000
2 | Supplying and filling the selected earth from outside of DAE installation (with a lead of 28 kilometres), including excavation from borrow pits if any required, filling in layer of not more than 150mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. Note: Proper Trip sheet records shall be maintained for bringing the earth through DAE main gate with security stamp duly signed by Departmental Engineer. | 500 | 700 | cum | 350000
3 | Supplying and filling in basement with Quarry dust, filling in layers of not more than 150mm thick, each layer well rammed and consolidated by hand/mechanical roller including watering, levelling, dressing the top surface to the required level complete all as per specification and as directed by the Engineer-in-Charge. | 1 | 700 | cum | 700
4 | Construction of granular sub-base by providing close graded Material, mixing in a mechanical mix plant at OMC, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401 of MoRT&H specifications for road and bridge works (4th Revision) and as directed by the Engineer-in-Charge. |  |  |  | 0
4/a] | for Grading-II material | 5 | 1500 | cum | 7500
5 | Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/downward variation required to obtain the specified strength will be paid for or deducted at the rate of cement specified in Schedule F. M15 grade with 260 kg. of cement per cu.m. of concrete upto plinth level | 20 | 5800 | cum | 116000
6 | Providing and laying cast insitu controlled reinforced cement concrete of M 30 grade with total minimum cementitious content (cement + fly ash) 380 kg/cu.m, using OPC 43 grade conforming to IS 8112 and with required fly ash conforming to IS 3812 Part -II / ASTM C-618 Class F. Fly ash should be blended at site such that fly ash content should not exceed 20 % by weight of total cementitious content. Coarse aggregate used should be hard granite machine crushed (VSI technology) graded stone aggregates with maximum size of aggregate not exceeding 20 mm and fine aggregate used should be either natural river sand or crushed stone sand conforming to IS 383 – 2016. |  |  |  | 0
6/a] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for upto plinth level | 200 | 7500 | cum | 1500000
6/b] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above plinth level up to +18.60m level. | 85 | 8700 | cum | 739500
6/c] | M30 grade with 380 kg. of cementitious material (Cement + Fly ash) per cu.m. of concrete as mentioned above for the levels above +18.60m level to up to +30m level. | 175 | 9500 | cum | 1662500
7 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering for curved surface to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof. The cost inclusive of providing & fixing tie bolt, spring coil and plastic cone in wall shuttering along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. The measurement for the formwork will be the actual area of forms in contact with concrete surfaces. Shuttering with plywood panels alone will be permitted. |  |  |  | 0
7/a] | Up to Plinth Level | 220 | 500 | sqm | 110000
7/b] | Above Plinth Level to up to +18.60m Level | 420 | 770 | sqm | 323400
7/c] | Above +18.60m to up to +30.00m Level | 600 | 900 | sqm | 540000
8 | Providing and fixing double Tubular scaffolding system using H-Frames / APS system or (cup lock type) on the exterior side upto 30metre height made with 40mm dia M.S. tube 1.5m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in-charge. The elevation area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding . | 2350 | 190 | sqm | 446500
9 | Providing and fixing approved design of Doka Staircase Tower system up to 30M height using with 1.20m height load bearing tower frame, preassembled stairway elements, intermediate exits permit safe access to all work - deck levels. The stair tower is anchored to the structure as required by the usage situation and complies with the relevant safety rules (Class B to EN 12811-1). The system consists screw jack foots, basic frames, inner, outer, access, landing, railing systems, staircase systems, access supports, scaffolding tubes, scaffolding planks, hand rail posts, scaffolding tube holders, couplers of different types etc. made with M.S. Tubes and M.S. Plates and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. | 500 | 400 | sqm | 200000
10 | Providing and Placing in position Serrated with central bulb 225mm wide PVC water stops conforming to IS:12200 of Deep-Jyoti or equivalent for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete | 200 | 430 | metre | 86000
11 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 'SAIL or VIZAG or approved equivalent make' and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts. Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. For further details please see Clause II of Section VIII, General Information for Guidance of Tenderers. |  |  |  | 0
11/a] | Up to Plinth Level | 50 | 81000 | mt | 4050000 | s
11/b] | Plinth Level to (+)18.60M Level | 17 | 82000 | mt | 1394000 | s
11/c] | (+)18.60M Level to (+) 30M Level | 33 | 86000 | mt | 2838000 | s
12 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like trusses, purlins etc. with curved profile of members using MS hollow / circular / square / rectangular tubular sections including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required shall also be arranged by the contractor at his own cost. | 0.5 | 135000 | mt | 67500 | st
13 | Providing, fabricating and fixing hand rail , Ladder , working platform using 304 grade Stainless Steel pipes, Square sections etc. of approved size and make and quality by cutting to required size, welding, mirror / matt polishing , fixing at site etc. for balcony railing & staircases railing including special sections as per drawings, specifications complete . A sample to be fabricated and to be got approved by the Engineer-in-Charge before starting of work at site . This work to be executed through approved specialized agency. | 1100 | 700 | kg | 770000
14 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:6 including scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors. |  |  |  | 0
14/a] | for Basement and Ground Floor | 20 | 6800 | cum | 136000
15 | Providing and constructing Random Rubble masonry in cement mortar 1:6 using hard granite stones obtained from approved quarry with bond stones at 2.00 metres apart for foundation, basement and in superstructure, compound/boundary walls, including sizing of stones if required, raking out joints, scaffolding, curing etc., complete all as per drawing, specifications and as directed by Engineer-in-charge at all lifts. | 5 | 6000 | cum | 30000
16 | Providing Flush pointing over the random rubble masonry wall with cement mortar 1:3 at all levels including scaffolding, curing, forming grooves wherever necessary all as per specifications, drawings and as directed by Engineer-in-Charge. | 15 | 230 | sqm | 3450
17 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick finished with a floating coat of neat cement including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications and as directed by the Engineer-in-Charge. | 85 | 350 | sqm | 29750
18 | Providing F3 finish over concrete surfaces in cement mortar 1:1.5 (1 part cement : 1.5 part fine sand) including wetting the surface, labours, curing, all materials, scaffolding, at all elevations complete all as per specification and as directed by the Engineer-in-Charge. | 500 | 120 | sqm | 60000
19 | Providing waterproofing in three parts system as per the specifications listed below. Note: Suitable guarantee for 10 years is to be provided for this work. This work has to be executed as per the specification and direction of the Engineer-in-charge. |  |  |  | 0
19/a] | Providing and Applying TWO COMPONENT Heavy duty ACRYLIC MODIFIED / POLYMER MODIFIED CEMENTITIOUS flexible waterproof coating like Dr.Fixit Fastflex of M/s. Pidilite Industries Ltd (or) equivalent which should have 120% elongation as per ASTM D 412,Crack Bridging upto 2 mm as per ASTM C 836,Water penetration(5 bar pressure) 1% as per BS EN 12390,Tensile strength of 1 N as per ASTM D 412,Reduction of Rapid Chloride Permeability 92% as per ASTM C1202-97 in two coats at 1:1.4(Liquid: Powder) mix ratio and at specific intervals once after base preparation of cleaning, brushing and removal of flacky materials, grouting the porous area with cementitious grout, bore packing, proper coving between slab and wall junctions,extending up to top of the wall ,etc., complete as per Manufacturer's methodology and specification which is approved by Engineer-in-charge. | 375 | 125 | sqm | 46875
19/b] | Providing and laying 12 mm thick plaster over the coating admixed with water proof admixture like Dr.Fixit Pidiproof LW+ of M/s Pidilite Industries Ltd (or) equivalent conforming to IS 2645:2003 standard at 200ml per bag of cement, etc., complete as per Manufacturer's specification which is approved by Engineer-in-charge. | 375 | 400 | sqm | 150000
19/c] | Supplying and applying of two coats of Food Grade Epoxy like Dr.Fixit Dampguard @ 500/Gms/Sqm (or) equivalent etc., complete and approved by the Engineer-in-Charge. | 375 | 550 | sqm | 206250
20 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 300 | 190 | sqm | 57000
21 | Providing and applying on external surfaces Acrylic based textured paint (Renova or other approved equivalent brand and manufacturer) of approved colour, textured pattern, horizontal and vertical groove if required on plastered surfaces with two coats of external emulsion paint over under coat textured paint including preparation of the surfaces, scaffolding, cleaning the surfaces complete at all level and as directed by the Engineer-in-Charge. Note: The work should be executed by an approved agency. The rate shall be included of textured paint one coat and emulsion paint two coats. | 700 | 530 | sqm | 371000
22 | Providing and laying 40mm thick Indian patent stone flooring and skirting with cement concrete 1:2:4, using 10mm and below size hard broken granite stone jelly including dividing strips, laying in panels, consolidating, curing, rubbing the surface smooth, cleaning the surface neatly at the time of handing over the area complete all as per specifications and as directed by the Engineer-in-Charge. | 35 | 420 | sqm | 14700
23 | Providing cement plaster skirting in cement mortar 1:3, 18mm thick finished with a floating coat of neat cement including curing, making uniform height, cleaning the surface neatly at the time of handing over the area all as per specifications and as directed by the Engineer-in-Charge. | 5 | 250 | sqm | 1250
24 | Providing and fixing anodized aluminium (Anodised transparent or dyed to required shade according to IS:1868 Minimum Anodic coating of grade AC 15) work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z Sections and other sections of approved make conforming to IS:733 and IS:1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per architectural drawings and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required. (fittings, Glazing and panelling shall be paid for separately) | 65 | 550 | kg | 35750
25 | Providing and fixing IS: 3564 marked Al die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts "Everite/ Hardwyn" or approved equivalent make complete as per specifications and as directed by the Engineer-in-Charge. | 1 | 1800 | each | 1800
26 | Providing and fixing 4 Lever Dead/Mortice Lock ‘Godrej/Everite’ or other approved equivalent make suitable for aluminium door with a pair of keys complete all as per specification, drawings and as directed by the Engineer-in-Charge. | 1 | 650 | each | 650
27 | Supplying and fixing in position of heavy quality Cast Iron manhole frame and cover, steps etc of specified weight for the inspection chamber, valve chamber etc. all as per specifications and as directed by the Engineer-in-Charge. | 300 | 105 | kg | 31500
28 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
28/a] | 300mm dia - 5.40 m long | 4 | 38000 | each | 152000
28/b] | 300mm dia - 3.0 m long | 2 | 30500 | each | 61000
28/c] | 300mm dia - 1.0 m long | 3 | 15500 | each | 46500
29 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
29/a] | 150mm dia - 5.40 m long | 15 | 16750 | each | 251250
29/b] | 150mm dia - 3.0 m long | 4 | 14750 | each | 59000
29/c] | 150mm dia - 1.50 m long | 1 | 8700 | each | 8700
29/d] | 150mm dia - 1.0 m long | 7 | 7500 | each | 52500
29/e] | 150mm dia - 0.50 m long | 1 | 5500 | each | 5500
30 | Supplying, laying and fixing in position the following sizes of Ductile iron flanged pipes in following diameter & lengths K9 class conforming to IS:8329-2000 & bearing with ISI marks, suitable for flanged pipe joints , pipes and cement mortar lining inside barrel conforming to ISO : 4179 including lowering them in to the excavated trenches and laying, fixing in position to proper grade and alignment all as per IS:12288 and standard specifications including cutting the pipes to the required length, cost of labour, pipes and other materials, tools and plants for laying and installing the pipe lines and testing the lines to the required hydrostatic pressure of relevent standards at the specified intervals but excluding cost of Ductile iron specials / fittings and joints which will be paid under relevant items. (The effective length of the DI fittings / specials, valves, Double flanged pipes etc will be deducted from the overall measurements of the pipe line for making payment against this item.) |  |  |  | 0
30/a] | 100mm dia - 5.40 m long | 4 | 11500 | each | 46000
30/b] | 100mm dia - 3.0 m long | 1 | 9750 | each | 9750
30/c] | 100mm dia - 2.0 m long | 1 | 6900 | each | 6900
30/d] | 100mm dia - 1.5 m long | 1 | 6200 | each | 6200
30/e] | 100mm dia - 1.0 m long | 3 | 5100 | each | 15300
31 | Supplying and fixing, tested heavy quality DI specials / fittings K12 class socket, spigot and flanged specials such as bends, collars, tapers, tees, duckfoot bend, flanged socket and flanged spigot tail pieces, blank flanges etc and conforming to IS:9523 and IS:8329. Drilling holes to the flanged fittings shall be PN 25 Classification and socket specials / fittings shall be suitable for rubber gasket (SPR) pushon joints etc complete. (Joints will be paid for separately under relevant items) - for 80mm to 300mm dia. | 550 | 220 | kg | 121000
32 | Providing and fixing in position the following sizes of cast iron sluice valves ‘Kirloskar’make conforming to IS:14846:2000, Having PN 1.6 Designation, non raising spindle ends flanged and drilled to IS:8329/2000 and IS:9523/2000 to PN-25 classification etc. complete all as per specification and as directed by the Engineer-in-Charge. (Making flanged joints will be paid for separately under relevant items) |  |  |  | 0
32/a] | 300mm diameter | 1 | 100000 | each | 100000
32/b] | 150mm diameter | 1 | 35000 | each | 35000
32/c] | 100mm diameter | 1 | 28500 | each | 28500
33 | Making flanged joints of the following DI pipes, specials and valves, providing and fixing standard size and numbers of MS bolts, nuts and washers, 3mm thick ply rubber insertion and testing the joints to hydrostatic pressure specified in relevent IS standard and making good all the defects and leakages inclusive of cost of all jointing materials, bolts and nuts and labour etc all as per standard specification and IS:8329 and IS:9523 and as directed by the Engineer-in-Charge. |  |  |  | 0
33/a] | 300mm diameter | 15 | 1000 | each | 15000
33/b] | 150mm diameter | 40 | 500 | each | 20000
33/c] | 100mm diameter | 15 | 198 | each | 2970
34 | Providing and laying non pressure NP2 class RCC Hume pipes conforming to IS:458, with collars jointed with stiff mixture of cement mortar in the proportion of 1:2, laying to the levels, slopes including testing of joints etc. complete all as per the drawings and specifications and as directed by the Engineer-in-charge. |  |  |  | 0
34/a] | 150mm dia NP2 class RCC Hume pipe | 560 | 489 | cum | 273840
18001485